FACTORY ACCEPTANCE TEST (FAT)

Title:

FAT for EXAMPLE TEXT: custom designed and manufactured Autoclave Rack for Belimed Pharma Sterilizer PST 17-9-14 HS2 6050

Department:

TEG R&D department

Location:

Forest Park, Mullingar, Co. Westmeath, Ireland

DOCUMENT NO: FAT-05-{{JN}}

REVISION NO: 00

ISSUE DATE: 06/01/2025

# DOCUMENT APPROVALS

| Written by: |  |  |  |
| --- | --- | --- | --- |
| Name | Function | Signature | Date (dd mmm yyyy) |
|  | TEG Quality |  |  |
| Approved by: |  |  |  |
| Name | Function | Signature | Date (dd mmm yyyy) |
|  | TEG Design |  |  |

TABLE OF CONTENTS

1.	Objective	5

2.	SCOPE	5

3.	References	5

4.	Protocol Execution	6

5.	Abbreviations	7

6.	Identification of personnel	8

7.	Test Instruments and Devices	9

8.	Prerequisites verification	10

8.1.	Objective:	10

8.2.	Materials and Equipment Required:	10

8.3.	Procedure:	10

8.4.	Acceptance Criteria:	10

8.5.	Results: Documentation Verification	11

9.	Mechanical Verification	12

9.1.	Objective:	12

9.2.	Materials and Equipment Required:	12

9.3.	Procedure:	12

9.4.	Acceptance Criteria:	12

9.5.	Results: Mechanical Assembly	13

9.6.	Results: Mechanical Walkdown	14

10.	Verification of Recommended Spare Parts drawing	15

10.1.	Objective:	15

10.2.	Materials and Equipment Required:	15

10.3.	Procedure:	15

10.4.	Acceptance Criteria:	15

10.5.	Result: Verification of Recommended Spare Parts Drawing	16

11.	Material Certification Verification	17

11.1.	Objective:	17

11.2.	Materials and Equipment Required:	17

11.3.	Procedure:	17

11.4.	Acceptance Criteria:	17

11.5.	Results: Material Certification Verification	18

12.	PUNCH/DEVIATION LIST	19

13.	Attachments	21

14.	FAT SUMMARY AND CONCLUSIONS	22

15.	APPROVAL	23

16.	Appendices	24

# Objective

The objective of this Factory Acceptance Test (FAT) protocol is to confirm and document, through appropriate checks and testing, that the equipment as defined in table 1 are built in accordance with the applicable specifications and Good Engineering Practice (GEP)/Good Manufacturing Practices (GMP).

Table 1:

| TE Number | Equipment Name | Quantity Ordered |
| --- | --- | --- |
| TExxxxx |  |  |

The objectives of the FAT are:

- To ensure that the equipment is designed and built in accordance with the requirements of the User Requirements Specification (URS) or Approval Drawing.

- To determine the equipment complies with the relevant requirements of the current GMP (cGMP).

- To provide a record of principal features of the equipment and components as available during FAT.

- To determine that the equipment is ready for shipment to the customer.

# SCOPE

The execution of this protocol will verify that the equipment is built according to the customers User Requirements and manufacturer’s specifications.  Execution of this protocol will be documented by completing the test sheets listed within the relevant sections.

# References

Table 2:

| Document Title | Document Number |
| --- | --- |
| User Requirement Specification |  |

# Protocol Execution

The personnel completing the protocol should enter results in the tables provided according to Good Documentation Practices (GDP). Specific information and values should be recorded where indicated in the test method or results column. Dates will be documented in DDMMMYYYY format.  Any data entries or boxes intentionally left blank will be marked N/A along with initials & date.

Where a deviation from the specified acceptance criteria is observed, the deviation should be noted, and a Punchlist item raised.

Typographical errors are not considered as deviations and may be handled by the person executing the protocol by adding a “Protocol Generation Error” comment in the comments box of the test results document.

The personnel completing the protocol should enter any comments arising from their findings in the relevant comments box of the test results. Individual comments must be initialled and dated. The reviewers of the completed report may add their own initialled and dated responses to the comments if necessary.

All printouts and other supporting data included must be cross-referenced to the specific confirmation in this protocol, signed and dated, then attached to this protocol.

Any corrections should be made according to Good Documentation Practices.

The following colour conventions should be used when annotating or confirming drawings, sketches, and data:

Drawing marking:

Green: Information verified as correct should be highlighted in green.

Yellow: Information that cannot be verified should be highlighted in yellow (state reason for non-confirmation).

Red/Pink: Information verified as incorrect should be highlighted in red or pink.

Red ink: Comments, amendments, and corrections should be in red ink with initials and date.

Copies of documents used for confirmation should be marked with the FAT protocol title and reference number. The documents must be signed and dated on completion of all checks and attached to this protocol in the appendices section.

# Abbreviations

Table 3:

| Abbreviation | Definition |
| --- | --- |
| AISI | American Iron and Steel Institute |
| cGMP | Current Good Manufacturing Practice |
| DIN | Deutsches Institut für Normung eV |
| EHS | Environmental Health and Safety |
| ETOP | Engineering Turn Over Package |
| FAT | Factory Acceptance Test |
| GMP | Good Manufacturing Practice |
| GEP | Good Engineering Practice |
| GDP | Good Documentation Practice |
| SAT | Site Acceptance Test |
| SF | Surface Finish |
| TE | Technical Engineering |
| TEG | Technical Engineering Group |

# Identification of personnel

The table lists the following:

- Individuals who have read and understood this FAT protocol.

- Individuals involved in documentation review.

| Company | Department | Print Name | Function in FAT | Signature | Initial | Date |
| --- | --- | --- | --- | --- | --- | --- |

Document review by (Customer): _________________________________________   Date: _________________________

# Test Instruments and Devices

| Instrument Description | Equip Ref | Serial/Model No | Manufacturer | Calibration Date | Calibration Due Date | Documented By (Initial and Date) |
| --- | --- | --- | --- | --- | --- | --- |
| RA Meter | 499 | 313031101 | Mitutoyo | 24 OCT 2022 | 24 OCT 2027 |  |
| GOLDD Alloy Analyser | 473 | 40859 | Niton UK | 03 MAR 2025 | 03 MAR 2027 |  |
| Note: N/A any unused rows or cells Comments: |  |  |  |  |  |  |
| Document review by (Customer): _________________________________________ Date: _________________________ |  |  |  |  |  |  |

# Prerequisites verification

## Objective:

- Verify that all documentation required for FAT execution is available.

- Verify that all required utilities are available for use.

## Materials and Equipment Required:

- Validation Support Documentation & ETOP

## Procedure:

- Verify that all required documentation listed in the results section is available for execution of the FAT.

## Acceptance Criteria:

- All required documentation is available for execution of the FAT.

## Results: Documentation Verification

# Mechanical Verification

## Objective:

- Verify the outside dimensions of the wash rack are in accordance with the specified dimensions of the approval drawing/ top level component cut sheet drawing.

- Verify the equipment has been mechanically completed as per component cut sheet drawings.

## Materials and Equipment Required:

- Measuring tape (Measuring tape does not need to be calibrated).

## Procedure:

- A copy of the top level component cut sheet drawing to be used to record the design requirements.

- As information on the drawings is verified as correct on the equipment, it should be marked on the drawing with a highlighter.

- Complete the result section by noting Pass or Fail for each test requirement.

- If a detail cannot be checked, the reason must be recorded on the plan and/or in the comment section of the test.

- The controlled and marked up drawings are attached to this executed protocol.

## Acceptance Criteria:

- The measured dimensions are according to the specification.

- The equipment is mechanically complete and conforms to component cut sheet drawings.

## Results: Mechanical Assembly

## Results: Mechanical Walkdown

# Verification of Recommended Spare Parts drawing

## Objective:

- To verify the recommended spare parts drawing is present and that the components comply to the specifications mentioned in the material certs/detail sheets.

## Materials and Equipment Required:

- Recommended Spare Parts Drawing

## Procedure:

- Use a copy of the recommended spare parts drawing and each component’s material certs/detail sheets to check the specification agreement.

- Check that the specifications (type, precision, material, etc.) of each spare part conform to those on the recommended spare parts drawing.

- For each component, check the presence of the material certs/detail sheets in the supplier's documentation; if the material certs/detail sheets are missing for any components, record it on the recommended spare parts drawing as well as in the comment section of this test.

- Date, sign and attach the checked recommended spare parts drawing to this executed protocol.

## Acceptance Criteria:

- All the required components are reported on the recommended spare parts drawing.

- The specification of each component complies with those indicated on the recommended spare parts drawing.

- The checked recommended spare parts drawing is attached to this test sheet.

## Result: Verification of Recommended Spare Parts Drawing

# Material Certification Verification

## Objective:

- To verify that material certification has been provided for all materials of construction.

## Materials and Equipment Required:

- ETOP

## Procedure:

- Verify that material certification has been provided for product surfaces.

## Acceptance Criteria:

- All product contact parts have a mimimum AISI 316 (DIN 1.4401) stainless steel.

- Material certificates are available for all stainless steel components.

- Material certificates and detail sheets are available for all plastic components.

## Results: Material Certification Verification

# PUNCH/DEVIATION LIST

List details of all deviations found during the execution of the protocol (on following page).

Define the level of criticality (category) for each deviation listed.

Deviations can be defined as:

(a) Major: When having an influence on product quality, cGMP or EHS.

(b) Minor: When having no impact on product quality, cGMP or EHS.

Report in the punchlist on the following page the description, references (if any), and person responsible for the completion of the actions agreed for each of the deviations raised during the execution of the FAT.

Additional pages available.

| Punchlist Summary |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Customer Name: |  |  | {{COMPANY NAME}} |  |  |  |  |  | Sale Order Number: |  | {{JN}} |  |  |
| Punchlist Item No: | Equipment TE Number |  | Description of Punchlist item |  |  |  | Major/Minor Deviation | Assigned to: (Customer or TEG dept) |  | Resolution Approved (initial & date) |  | Resolution Accepted & Closed (yes/no) |  |
| Note: N/A any unused rows or cells See Punchlist Document no. ____ _________________________ for details |  |  |  |  |  |  |  |  |  |  |  |  |  |

# Attachments

- Attach applicable documentation and record the applicable test section (and step if applicable), include an attachment description, total number of pages, and initial and date.

- Label attachments clearly.

- If the attachment does not include sequential pagination, indicate on each page of multiple page attachments the document number, attachment number, page number, page count (e.g. Page 2 of 3), initials and date.

- If the attachment includes sequential pagination, the document number, attachment number, initials and date are required on the first and last page.

| Sheet __ of __ |  |  |  |  |
| --- | --- | --- | --- | --- |
| # | Test Section | Attachment Description | # Pages | Initial & Date |
| Note: N/A any unused rows or cells Document review by (Customer):________________________________ Date:______________________ |  |  |  |  |

# FAT SUMMARY AND CONCLUSIONS

The comments below result from a determination of the findings of the FAT protocol execution. These should include whether all of the objectives have been met and a recommendation stating whether the equipment is considered ready for shipment.

Place and date of the FAT:

The FAT is:

- accepted without remarks

- accepted with remarks (see punchlist)

- not accepted

Result / actions:

Approval of FAT execution:

| Company | Position | Name | Date | Signature |
| --- | --- | --- | --- | --- |
| TEG |  |  |  |  |

# APPROVAL

The tests and checks detailed in this FAT protocol have been completed and the results documented.

All deviations/Punchlist Items have been recorded in the Punchlist section of this document and all the actions agreed.

All deviations/Punchlist Items that have been identified are reviewed and deemed acceptable to proceed to the next phase of commissioning/qualification.

The equipment is ready for shipment.

| SHIPPING APPROVALS |  |  |  |
| --- | --- | --- | --- |
| Department | Name | Signature | Date |
| Engineering (TEG) |  |  |  |
| Validation |  |  |  |
| Quality |  |  |  |

# Appendices

Appendix 1

Attachment Page Cover Sheet

ATTACHMENT COVER SHEET

ATTACHMENT DESCRIPTION:

Total Number of pages in Attachment ______ (including this page)